

**Single Plastic**

* WC with toilet seat and lid
* Self-contained units requiring no water, waste or power
* Fully stocked toilets
* Good ventilation
* Anti-slip floor
* HSE Compliant
* Spacious interior design
* Foot operated wash basin and flush system
* Wall dispenser with paper towels
* Restocking and servicing on long-term hire
* Attendant service available (Additional cost)
* Available for long or short-term hire
* Available in green, pink and blue

**Specifications**

* Height: 2.31 m
* Width: 1.1 m
* Depth: 1.2 m
* Weight: 90.8 kilos
* Tank Capacity: 227 litres